MWMTCG3016V08 400KW 500HZ X6 UNITS



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| TCG3016V08 400KW  Configuration and quotation of gas generator units | | | | | | |
| No. | Name | Model | Brand | Origin | Unit | Quantity |
| — | 燃气发电机组  Gas Generator Set | TCG3016V08 | MWM | Germany | Set | 6 |
| 1.1 | 发动机Engine | 1500rpm Nox 500mg/Nm³ | MWM | Germany | Set | 6 |
| 1.2 | 发电机Alternator | 400KW，50Hz,400V | MWM | Germany | Set | 6 |
| 1.3 | 底座 Base | Standard Configuration | MWM | Germany | Set | 6 |
| 1.4 | 联轴器Coupling | Standard Configuration | MWM | Germany | Set | 6 |
| 1.5 | 避震脚Shock Absorber | Standard Configuration | MWM | Germany | Set | 6 |
| 1.6 | 电子预热系统 Electronic Preheating System | Standard Configuration | MWM | Germany | Set | 6 |
| 1.7 | 空气过滤器 Air  Filter | Standard Configuration | MWM | Germany | Set | 6 |
| 1.8 | 曲轴箱呼吸器  Crankcase Breather | Standard Configuration | MWM | Germany | Set | 6 |
| 1.9 | 电动启动马达  Electric Moto | Standard Configuration | MWM | Germany | Set | 6 |
| 1.10 | TPEM Cabinet | 发动机控制柜 Engine Control Cabinet | MWM | Germany | Set | 6 |
| 1.11 | 燃气阀组 Gas  Valve | Standard Configuration | MWM | Germany | Unit | 6 |
| 1.12 | 缸套水三通阀  Liner Water Valve | Standard Configuration | MWM | Germany | Set | 6 |
| 1.13 | 中水三通阀 Intercooling Water Valve | Standard Configuration | MWM | Germany | Set | 6 |
| 二 | 机组辅助设备 Auxiliary Equipment | | | | | |
| 2.1 | 燃气管路 Gas Pipe | DN50 | PAUWAY | China | Meter | 90 |
| 2.2 | 排烟部分Exhaust | 排烟消音器、管路等配套  Silencer, pipe, etc | PAUWAY | China | Unit | 6 |
| 2.3 | 中水回路系统 Innercooling Water Circuit System | 膨胀罐、水泵等配套  Expansion Tank, Pump, etc | PAUWAY | China | Unit | 6 |
| 2.4 | 缸套水系统  Liner Water System | 水泵、散热器 Pump, Radiator | PAUWAY | China | Set | 6 |
| **Price Total** | | | | | €24847303 | |
| 备注：本项目是欧元报价，主机是德国工厂提货价，辅助设备是中国工厂提货价。报价有效期为30天,  20240626  Note: The quotation is in Euros, excluding taxes, Main Engine Sets deliveried from Germany directly. the Auxiliary Euipment deliveried from Tianjin factory. | | | | | | |
| The validity period of the quotation is 30 days, from 2024-06-26. | | | | | | |